## Slide 1: Polarion Implementation Project
Risk Management Module
Consumer Eye Health
September 2022

## Slide 2: What has changed from Siemens maturity review?
  All report configuration changed to match Vision templates.
  All work item definition changed to match Vision data structure.
  All label names changed to match Vision terminology.
Summary
The Polarion configuration is changed to match Vision processes.

## Slide 3: Outline
Fundamentals
  Polarion data objects
  High level process definition
  Discussion on Polarion deliverables
  User interaction with Polarion
  Demo Part 1
          MHES report
          Existing device risk management file
    Demo Part 2
          NPD project risk management file
  Polarion data model for CEH deliverables 5-7 min

## Slide 4
Fundamentals

## Slide 5: What is Polarion ALM system?
Agile | Polarion
Document Management System | Data Management System
Every document has unique identifier and is version controlled. | Every data object has a unique identifier and is version controlled.
Documents are called items. | Data objects are called work items.
What is Polarion ALM system?
The system is in essence a document creation and management tool used to efficiently author, link and track ideas and concepts.

## Slide 6: What is work item? Why is it used?
Work Items represent various artifacts - for example failure mode, hazardous situation, harm. Each artifact type is represented in Polarion by a Work Item type.
Each work item has multiple fields for user input, such as,
Author
Title
Description
Project
Approval status
Etc...
All the data referenced in the PRTM, FMEAs or Risk Assessments are stored in Work Items.

## Slide 7: Document vs Report
 | Document | Report
Definition | Documents (or LiveDocs) are document-like containers for both free-form text and granular Work Items. (think MS Word) | Report Page (or LiveReport) are custom-built layouts for a report with charts that retrieve, aggregate, and/or format Work Item and other project data.
OOTB Redlining feature | Document has OOTB redlining feature. | LiveReports do not have OOTB redlining feature.
Traceability tables and data tables | Document do not support traceability matrices. | Report can be custom built to support traceability matrices
Use | All banner pages are configured using Documents. | All traceability matrices and data tables are custom built using LiveReports.

## Slide 8: Process definition
Polarion generated outputs
User input
Graphical User Interface
LiveReport or Report
exported as pdf
Direct bulk import
(or)
Codeless LiveDoc
(Polarion word editor)
LiveDoc or Document exported as pdf
Banner page
Data as attachment
Deliverable
(or)
Codeful report

## Slide 9
Project Architecture

## Slide 10
Polarion System Architecture
JJSV Equipment and software only
VISION Equipment and software MASTER
*VISION Equipment Dev
Project 2
JJSV implantable
VISION Implantable MASTER
JJVC CEH
*VISION CEH Dev
JJVC Contact lens
Project 1
Project 2
VISION CEH MASTER
Project 2
VISION Contact lens MASTER
Project 1
Project 2
Configuration
Maintained by Polarion Project team
Master List Polarion Project
Maintained by VISION Project admin and Quality group
NPD projects
Maintained by Vision Project teams
*Temporary project names assigned in Development server.

## Slide 11
What is Master JJVC CEH project?
Project Architecture
All data that are common across all CEH products are stored in Master JJVC CEH Project.
MHES table content
ISO Standards
Standard handbook data
How is Master JJVC CEH used?
Project teams can refer the Master JJVC CEH project data (like MHES table) to create project specific deliverables (like fmea).
Why is Master JJVC CEH used?
Consistency
Ease of use

## Slide 12
Polarion Deliverables- Demo

## Slide 13: User experience
Objectives
User friendly.
Design per user actions.
Approach
Mimic the CEH processes and templates as-is.
Polarion Work Item Screenshot
VISION Template Screenshot
Example- VOC Work item definition

## Slide 14: Process definition
Polarion generated outputs
User input
Graphical User Interface
LiveReport or Report
exported as pdf
Direct bulk import
(or)
Codeless LiveDoc
(Polarion word editor)
LiveDoc or Document exported as pdf
Banner page
Data as attachment
DHF deliverable
(or)
Codeful report

## Slide 15: Creation of Banner page
Create
Create using pre-configured templates
Edit the document
Save
Save the document
Export
Export pdf and redline version
Edit
The templates in the Polarion system are maintained current by the Polarion Project team.
Demo- dfmea in CEH Dev

## Slide 16
CEH RMF Polarion deliverables
Key takeaway
Risk acceptability matrix
6
RMR
All deliverables have been configured.

## Slide 17: Creation of report page
Import
Import work items with links in bulk
Edit
Edit work items and links
Create
Create new work items and links
Export
Export pdf and redline version
Approve
Approve work items
The reports are configured and maintained by the Polarion Project team.
The DHF deliverables will continue to the approved in the PLM systems. Approval process is not in-scope for Polarion implementation. The approval process in Polarion is a ‘nudge’ to minimize user errors.
Legacy products

## Slide 18
Demo- Phase-1 Import legacy existing data
Sample data used for demo
Blink- DHF9587X.
Demo Process-
Show the MHES table in the Master CEH project.
Show the risk files that are downloaded from in the CEH Dev project.
Show creating new WIs in new project
Show bulk import of linked WIs in new project.
  Data from multiple risk files can be imported together.
  Data sample size does not matter.

## Slide 19: Creation of NPD project
New Polarion project
Harms data from MHES table
Failure mode and other data from existing device
Make updates

## Slide 20
Demo- Phase-2 Create new RMF
Data used for Demo
Include the new harms/hazardous situation for new project.
Demo Process-
Show the MHES table stored in the Master CEH project.
Show the new project in sandbox.
Move the data from CEH Dev to new project.
Will create new Harms, Hazardous Situation in Master CEH project.
Will add new Failure modes to new project and link to the new Harms, Hazardous situation in Master CEH project.

## Slide 21
Step 1- Collect Work items using Polarion Move feature
Reuse Work items - Process
Work Item 1
Work Item 2
Work Item 3…
Document
Step 2- Copy to new project using Reuse feature
Existing Project
New Project

## Slide 22: Polarion Deliverables for CEH- Risk files
Template Title, number and revision | Banner page | Read-only report | Editable report
DFMEA | Done | Done | Done
PFMEA | Done | Done | Not configured. Pending feedback
Design Risk Assessment | Not applicable | Done | Not configured. Pending feedback
Process risk Assessment | Not applicable | Done | Not configured. Pending feedback
Use Error risk assessment | Done | Done | Not configured. Pending feedback
Risk Trace Matrix | Done | Done | Not applicable
Risk Management report | Done | Done | Not applicable

## Slide 23
Training and lifecycle support from Polarion team
Notes: This section should be left as is for now, TBD

## Slide 24: Polarion process- Tentative transition plan
Until Dec 2023
Polarion Project admin to create the Polarion project
2024 and beyond
Polarion Project admin to create the Polarion project
Project users create, edit and modify project data
NPD Project team identifies users for the Project.
Polarion project team upload legacy data
NPD Project team identifies atleast one project owner
NPD Project team identifies users for the Project.
NPD Project team identifies atleast one project owner
Project users upload legacy data
Project users create, edit and modify project data
Training provided by Polarion Project team
In-person training
Video conference
ComplainceWire
Training videos

## Slide 25
Data model

## Slide 26
Polarion Work Items for CEH Risk files
Key takeaway
The data model configured to match CEH processes and deliverables.
Use Step
Function/ Use Scenario
Design/Process Requirement
Hazard
Harm
Cause of Failure
Harm Probability
Risk Control
Failure Mode
Hazardous Situation
Example- Label changed to match Vision terms.
classifies
evaluates
causes
evaluates
classifies
controls
leads to
has Risk Record of
causes
exposes

## Slide 27
Validation

## Slide 28: Validation approach
IT validation
VISION specific customization validation
Total Validation package
Completed by Dave and Siemens Team.
Scope include but not limited to-
Server data back up
Disaster recovery processes/ requirements
Security management login testing/security breach etc.
Completed by Danny and TCS Team.
Scope include but not limited to-
Work items fields
Reports
Banner page set-up
QMS Procedures/Work instructions/training
User Acceptance Testing

## Slide 29
Back-ups

## Slide 30: Creation of report
Polarion data model
Failure mode
Cause of Failure
Harm
Other WIs
Hazardous situation
Create links

## Slide 31: FAQs
FAQs | Responses
Can the report be configured to display work items in draft mode? Approval in Polarion is a non-value add step. (or) Why does the report display only approved work items? | This is nudge for the user to check the data entry atleast once before exporting to pdf. As the user community matures, this non-value step can be removed.
Why is banner page (cover page) configured in live doc and data table is configured in LiveReport? (or) Why are there two separate files configured in Polarion for every deliverable? | For every deliverable, a decision must be made to either use LiveDoc or LiveReport for configuration. This decision is driven by the type of data in the deliverable. The data in the banner page (cover page) is free form text. This is fundamentally different from the type of data in the traceability table, like PRTM. Every piece of data in the traceability table must have a unique identifier and must be traced across multiple documents. LiveDoc is the best suited for deliverables with free form text. Customized LiveReports is the best suited for traceability tables.

## Slide 32: Questions and follow-ups
Question/ Description | Status